# The City of Mobile, Alabama

# Board of Zoning Adjustment

# Letter Of Decision

November 9, 2015

Sivaporn Nimityongskul

4567 Airport Boulevard

Mobile, AL 36608

Re:	#6007
(Case #ZON2015-02188)

Sivaporn Nimityongskul

2354 & 2410 Eloong Drive

(East terminus of Eloong Drive).

Dear Applicant(s) / Property Owner(s):

On November 2, 2015, the Board of Zoning Adjustment considered your request for Parking Surface and Access and Maneuvering Variances to allow unpaved surfacing for a meditation center in an R-1, Single-Family Residential District at the above referenced location.

After discussion, the Board heldover the request until the December 7, 2015 meeting to allow the applicant’s Planning Commission requests to be heard, and allow the applicant to submit revised information by November 16, 2015:

- provision of the floor plan of the proposed 2,400 square foot meditation facility with the occupancy loads provided (excluding hallways and bathrooms);

- revision of the driveways to reflect a minimum width of 26’ per Fire Department comments;

- illustration of all trees 24” or larger on the site with species identified;

- illustration of full compliance with tree planting and landscape area requirements; and

- depiction of vegetation  making up proposed residential buffer to insure it complies with Section 64-4.D.1. of the Zoning Ordinance;

- compliance with Engineering comments (If the aggregate surfacing is approved for use the applicant will need to have the following conditions met:  A.  Submit and receive a Land Disturbance Permit for the proposed site development through Central Permitting.  B.  Submit a ROW Permit (ALDOT and City of Mobile) for the work within the Public ROW. Aggregate surfacing will NOT be allowed within the public ROW.):

- compliance with Traffic Engineering comments (Required parking spaces must be delineated with bumper stops if gravel surface is approved.  The owner/developer is responsible for ADA accessibility, which should require asphalt/concrete surface for the designated space(s) and the path to the building with any future development.); and

- compliance with Fire Department comments (Regarding Fire access Roads and fire water supplies the following apply.  Other requirements not listed here may also apply.  This is only some of the requirements of the City of Mobile fire code requirements, but it should be helpful in site planning.  IFC 2012  SECTION 503 FIRE APPARATUS ACCESS ROADS  503.1 Where required.  Fire apparatus access roads shall be provided and maintained in accordance with Sections 503.1.1 through 503.1.3.  507.5 Fire hydrant systems.  Fire hydrant systems shall comply with Sections 507.5.1 through 507.5.6.  507.5.1 Where required.  Where a portion of the facility or building hereafter constructed or moved into or within the jurisdiction is more than 400 feet (122 m) from a hydrant on a fire apparatus access road, as measured by an approved route around the exterior of the facility or building, on-site fire hydrants and mains shall be provided where required by the fire code official.  SECTION D101 GENERAL  D101.1 Scope.  Fire apparatus access roads shall be in accordance with this appendix and all other applicable requirements of the International Fire Code.  SECTION D102 REQUIRED ACCESS  D102.1 Access and loading.  Facilities, buildings or portions of buildings hereafter constructed shall be accessible to fire department apparatus by way of an approved fire apparatus access road with an asphalt, concrete or other approved driving surface capable of supporting the imposed load of fire apparatus weighing at least 75,000 pounds (34 050 kg).  SECTION D103 MINIMUM SPECIFICATIONS  D103.1 Access road width with a hydrant.  Where a fire hydrant is located on a fire apparatus access road, the minimum road width shall be 26 feet (7925 mm), exclusive of shoulders (see Figure D103.1).  D103.4 Dead ends.  Dead-end fire apparatus access roads in excess of 150 feet (45 720 mm) shall be provided with width and turnaround provisions in accordance with Table D103.4.).

For additional assistance call (251) 208-5895.

Sincerely,

# BOARD OF ZONING ADJUSTMENT

# William Guess, Chairman

# By:	__________________________________________

Bert Hoffman, Planner II

cc:  	Frank A. Dagley & Associates, Inc.

/lw