# PLANNED UNIT DEVELOPMENT

& SUBDIVISION STAFF REPORT	 December 20, 2018

#### Airport University Subdivision

- Airport University Subdivision

- 4645 Airport Boulevard

(Southeast corner of Airport Boulevard and South University Boulevard).

## CITY COUNCIL

DISTRICT	District 5

- 2 Lots / 3.3 ± Acres

CONTEMPLATED USE	Planned Unit Development Approval to allow shared access between multiple building sites, and to create two legal lots of record from one existing legal lot.

- No immediate plans or timing for development of Lot B. Lot A is currently under construction with an estimated February 2019 completion date.

ENGINEERING

COMMENTS	    		Subdivision: FINAL PLAT COMMENTS (should be addressed prior to submitting the FINAL PLAT for review and/or signature by the City Engineer):

- Provide all of the required information on the SUBDIVISION PLAT (i.e. signature blocks, signatures, certification statements, written legal description, required notes, legend, scale, bearings and distances) that is required by the current Alabama State Board of Licensure for Professional Engineers and Land Surveyors.

- Provide information from the recorded Subdivision Plat – RESUBDIVISION OF A PORTION OF LOTS 51-54, GOVERNMENT STREET HIGHLANDS, Instrument #2018025632 that was recorded 5-9-18.

- Show and label each and every Right-Of-Way and easement.

- Provide a written description for the subdivision boundary.  The individual parcel descriptions that are shown may remain.

- Clarify/show the beginning and ending of each of the curves.

- Check the written legal description.  The area labeled as “LESS AND EXCEPT” is not listed as being included in either of the written description for LOT A or LOT B.

- Provide SHEET 2 OF 2 for review.

- Add a signature block for the Owner and Notary Public.

- Provide the Owner’s (notarized), Planning Commission, and Traffic Engineering signatures.

- Add a note to the plat stating that all proposed detention facilities, common areas, and wetlands shall be the responsibility of the Property Owner(s), and not the responsibility of the City of Mobile.

- Add a note to the plat stating that all easements shall remain in effect until vacated through the proper Vacation process.

- Provide a copy of the FINAL SUBDIVISION PLAT to the Engineering Dept. for review.  No signatures are required on this drawing.

- After addressing all of the FINAL SUBDIVISION PLAT review comments by the Engineering Dept. provide the red-line markup, the ORIGINAL (with all other signatures) and one (1) copy of the revised original (signatures not required) of the revised Final Plat to the Engineering Department.

Planned Unit Development

- Label the drawing as the PUD Site Plan.

ADD THE FOLLOWING NOTES TO THE PUD SITE PLAN:

- Any work performed in the existing ROW (right-of-way) such as driveways, sidewalks, utility connections, grading, drainage, irrigation, or landscaping will require a ROW permit from the City of Mobile Engineering Department (208-6070) and must comply with the City of Mobile Right-of-Way Construction and Administration Ordinance (Mobile City Code, Chapter 57, Article VIII).

- A Land Disturbance Permit application shall be submitted for any proposed land disturbing activity with the property.  A complete set of construction plans including, but not limited to, drainage, utilities, grading, storm water detention systems and paving will need to be included with the Land Disturbance permit.  This Permit must be submitted, approved, and issued prior to beginning any of the construction work.

- Any and all proposed land disturbing activity within the property will need to be submitted for review and be in conformance with Mobile City Code, Chapter 17, Storm Water Management and Flood Control); the City of Mobile, Alabama Flood Plain Management Plan (1984); and, the Rules For Erosion and Sedimentation Control and Storm Water Runoff Control.

- Any existing or proposed detention facility shall be maintained as it was constructed and approved.  The Land Disturbance Permit application for any proposed construction includes a requirement of a Maintenance and Inspection Plan (signed and notarized by the Owner) for the detention facility. This Plan shall run with the land and be recorded in the County Probate Office prior to the Engineering Department issuing their approval for a Final Certificate of Occupancy.

- The approval of all applicable federal, state, and local agencies (including all storm water runoff, wetland and floodplain requirements) will be required prior to the issuance of a Land Disturbance permit.  The Owner/Developer is responsible for acquiring all of the necessary permits and approvals.

- The proposed development must comply with all Engineering Department design requirements and Policy Letters.

TRAFFIC ENGINEERING

COMMENTS 		  	Site is denied access to Airport Blvd, and limited to one driveway each to University Blvd and Dogwood Drive, with size, location and design to be approved by Traffic Engineering and conform to AASHTO standards.  Traffic Engineering approval of this site is contingent upon the construction by the developer/owner of the northbound right turn lane on University Boulevard at Airport Boulevard, as illustrated in the provided site plan.   Any on-site parking, including ADA handicap spaces, shall meet the minimum standards as defined in Section 64-6 of the City’s Zoning Ordinance.

URBAN FORESTRY

COMMENTS	 	    Property to be developed in compliance with state and local laws that pertain to tree preservation and protection on both city and private properties (State Act 2015-116 and City Code Chapters 57 and 64). Private removal of trees in the right-of-way will require approval of the Mobile Tree Commission.  Removal of heritage trees from a commercial site will require a tree removal permit.

FIRE DEPARTMENT

COMMENTS		     All projects within the City Limits of Mobile shall comply with the requirements of the City of Mobile Fire Code Ordinance. (2012 International Fire Code).

REMARKS			The applicant is requesting Planned Unit Development Approval to allow shared access between multiple sites, and to create two legal lots of record from one existing legal lot. The site is located in Council District 5, and according to the applicant is served by public water and sanitary sewer.

This site most recently appeared before the Planning Commission at its October 20, 2016 meeting where the Commission approved a one lot subdivision, and the rezoning from R-1 to LB-2 per a decree by Circuit Court. The applicant now wishes to subdivide the property to allow one lot for the pharmacy, and the other lot for future development.

The site has been given a Suburban Center land use designation, per the recently adopted Future Land Use Plan and Map.  The Future Land Use Plan and Map complements and provides additional detail to the Development Framework Maps in the Map for Mobile, adopted by the Planning Commission at its November 5, 2015 meeting.

This land use designation applies to smaller hubs of mixed commercial, community, and recreational activity that cater to adjacent residential areas. Many of these centers exist today in some form. Therefore, the following common principles apply not just to the future development of new centers, but also to the redevelopment (wholesale or incremental) of existing centers.

General Principles for Neighborhood Centers:

- NC should support a limited amount of commercial employment

- NC should incorporate some residential use, which may vary in type from detached single family, townhouse, accessory and live-work units in mixed use and low-rise multifamily structures.

- The residential density in NC designations –ranging from 4 to 10 dwelling units per acre — must be compatible in character with that of surrounding residential development, providing appropriate transitions in height, massing and other buffering from one land use district to the next.

- The retail and housing uses should merge around vibrant, compact, accessible nodes, located at key neighborhood intersections or along short road segments.

- The NC nodes should be connected to the surrounding neighborhood and nearby public uses (e.g., schools, parks, etc.) via well-designed sidewalks and complete streets.

While the above-listed principles are common to all NC districts, the design attributes of neighborhood centers generally vary depending on whether a center is in a more “traditional” or more “suburban” context.

Additional Attributes of Neighborhood Centers:

- NC in traditional contexts: These tend to be in those areas east of the Beltline and correspond to MxDR neighborhoods. In these NCs, buildings should orient to the street, with on-site parking typically pushed to the back of the site. The design qualities of the public realm are emphasized, including the provision of continuous sidewalks, tree canopy, pedestrian amenities, on-street parking and bicycle facilities where appropriate.

- NC in suburban contexts: These generally are located among the LDR land use designations in the areas west of the Beltline. Where they exist, these centers currently have a more pronounced vehicular orientation. Therefore, the emphasis is on retrofitting to improve internal walkability (e.g., through the addition of sidewalks, tree canopy, protection from the elements) and external connectivity to the surrounding areas (via sidewalks, paths and trails, street crossings, transit stops, etc.) and to increase the mix and density of uses (e.g., infill of outparcels, addition of housing, etc.).

It should be noted that the Future Land Use Plan and Map components of the Map for Mobile Plan are meant to serve as a general guide, not a detailed lot and district plan.  In many cases the designation on the new Future Land Use Map may match the existing use of land, but in others the designated land use may differ from what is on the ground today.  As such, the Future Land Use Plan and Map allows the Planning Commission and City Council to consider individual cases based on additional information such as the classification request, the surrounding development, the timing of the request, and the appropriateness and compatibility of the proposed use and, where applicable, the zoning classification.

The overall site was the subject of several previous rezoning and subdivision applications. One of the most recent rezoning and subdivision applications were heard by the Commission in 2015, and were denied. The City Council affirmed the Commission’s recommendation of denial and the application was appealed to Circuit Court. The Circuit Court ordered the City to rezone the property LB-2, and the Planning Commission to approve the one lot subdivision.

Subdivision review examines the site with regard to promoting orderly development, protecting general health, safety and welfare, and ensuring that development is correlated with adjacent developments and public utilities and services, and to ensure that the subdivision meets the minimum standards set forth in the Subdivision Regulations for lot size, road frontage, lot configuration, etc.

The proposed lots meet the minimum size and frontage requirements as defined by Section V.D.2. of the Subdivision Regulations.

The preliminary plat depicts the lot sizes in square feet and acres. The lot sizes should be retained in square feet and acres on the Final Plat, if approved.  The minimum building setback lines are depicted, and should be retained on the Final Plat, if approved.

Airport Boulevard and University Boulevard are major streets as shown on the Major Street Plan.  The preliminary plat depicts the right-of-way widths for Airport Boulevard and Dogwood Drive, but indicates the right-of-way width of University Boulevard “varies”. The site plan does not depict the right-of-way widths for any of the streets. Based on the previous staff reports Airport Boulevard (which has an existing right-of-way of 53’ from centerline) and University Boulevard (which has an existing right-of-way of 50’ from centerline) both have existing right-of-ways in compliance with the plan.  It appears that Dogwood Drive has a compliant right-of-way as well.  If approved, all pertinent right-of-way information should be shown on the final plat and site plan.

A portion of the site, proposed Lot A, is currently under development, and the site plan depicts one curb-cut to University Boulevard and one curb-cut to Dogwood Drive; no access to Airport Boulevard is proposed. There is, however, some concern that customers who wish to travel West on Airport, or South on University, will take Dogwood Drive through the neighborhood to Oak Ridge Drive, then to University. Therefore, the site should be limited to a total of two curb-cuts, one curb-cut to University Blvd and one curb-cut to Dogwood Drive with the size, location and design to be approved by Traffic Engineering and conform to AASHTO standards. Additionally, Lot B should be limited to the one existing curb-cut to University Boulevard.

Planned Unit Development review examines the site with regard to its location to ensure that it is generally compatible with neighboring uses; that adequate access is provided without generating excess traffic along minor residential streets in residential districts outside the PUD; and that natural features of the site are taken into consideration.  PUD review also examines the design of the development to provide for adequate circulation within the development; to ensure adequate access for emergency vehicles; and to consider and provide for protection from adverse effects of adjacent properties as well as provide protection of adjacent properties from adverse effects from the PUD.

In pursuit of these purposes, the objectives to be met by a PUD are as follows: a) to encourage innovative and diversified design in building form and site development; b) flexibility, to permit greater flexibility in the location and arrangement of buildings and uses than is generally possible under district regulations; c) to encourage the most efficient and sustainable use of land, especially tracts in the inner part of the city that remain undeveloped or that are appropriate for re-development; d) to preserve and protect as urban amenities the natural features and characteristics of land; e) to encourage the provision of common open space through efficient site design; and, f) to encourage optimum use of available public utilities, streets and community facilities.

PUD approval is site-plan specific, thus any changes to the site plan / Subdivision plat will require approval by the Planning Commission. Also, PUD approvals expire within one (1) year if no permits for the development are obtained.

As previously mentioned, a portion of the site (proposed Lot A) is currently under construction to allow a pharmacy. The proposed Lot B is currently undeveloped and the applicant states that there are no immediate plans or timing for development. Once there is a specific use for Lot B, a revised PUD application will be resubmitted and appear before the Commission. At this time the applicant is merely requesting shared access between the two proposed lots.

With regards to tree and landscaping, when Lot B is developed, full compliance with landscaping and tree planting will be required.

The minimum building setback lines are depicted on the site plan and should be retained on any future site plans.

It appears that a sidewalk is currently depicted on the site, and should also be retained on any future plans.

It should be pointed out that the legal description submitted with the applicant is incorrect and does not reflect the most recent recorded subdivision plat. The plat should be revised to reflect the most recently approved final plat legal description.

RECOMMENDATION

Subdivision:	Based upon the preceding, the application is recommended for Tentative Approval, subject to the following conditions:

- revision of the plat to depict the most recently approved final plat legal description;

- retention of the lot sizes in square feet and acres;

- retention of the 25’ minimum building setback lines;

- compliance with Engineering comments: “FINAL PLAT COMMENTS (should be addressed prior to submitting the FINAL PLAT for review and/or signature by the City Engineer): A. Provide all of the required information on the SUBDIVISION PLAT (i.e. signature blocks, signatures, certification statements, written legal description, required notes, legend, scale, bearings and distances) that is required by the current Alabama State Board of Licensure for Professional Engineers and Land Surveyors. B. Provide information from the recorded Subdivision Plat – RESUBDIVISION OF A PORTION OF LOTS 51-54, GOVERNMENT STREET HIGHLANDS, Instrument #2018025632 that was recorded 5-9-18. C. Show and label each and every Right-Of-Way and easement. D. Provide a written description for the subdivision boundary.  The individual parcel descriptions that are shown may remain. E. Clarify/show the beginning and ending of each of the curves. F. Check the written legal description.  The area labeled as “LESS AND EXCEPT” is not listed as being included in either of the written description for LOT A or LOT B. G. Provide SHEET 2 OF 2 for review. H. Add a signature block for the Owner and Notary Public. I. Provide the Owner’s (notarized), Planning Commission, and Traffic Engineering signatures. J. Add a note to the plat stating that all proposed detention facilities, common areas, and wetlands shall be the responsibility of the Property Owner(s), and not the responsibility of the City of Mobile. K. Add a note to the plat stating that all easements shall remain in effect until vacated through the proper Vacation process. L. Provide a copy of the FINAL SUBDIVISION PLAT to the Engineering Dept. for review.  No signatures are required on this drawing. M. After addressing all of the FINAL SUBDIVISION PLAT review comments by the Engineering Dept. provide the red-line markup, the ORIGINAL (with all other signatures) and one (1) copy of the revised original (signatures not required) of the revised Final Plat to the Engineering Department.”

- placement of a note on the Final Plat stating that Lot B is denied direct access to Dogwood Drive and the following Traffic Engineering comments: “Site is denied access to Airport Blvd, and limited to one driveway each to University Blvd and Dogwood Drive, with size, location and design to be approved by Traffic Engineering and conform to AASHTO standards.  Traffic Engineering approval of this site is contingent upon the construction by the developer/owner of the northbound right turn lane on University Boulevard at Airport Boulevard, as illustrated in the provided site plan.   Any on-site parking, including ADA handicap spaces, shall meet the minimum standards as defined in Section 64-6 of the City’s Zoning Ordinance.”

- compliance with Urban Forestry comments: “Property to be developed in compliance with state and local laws that pertain to tree preservation and protection on both city and private properties (State Act 2015-116 and City Code Chapters 57 and 64). Private removal of trees in the right-of-way will require approval of the Mobile Tree Commission.  Removal of heritage trees from a commercial site will require a tree removal permit.”;

- compliance with Fire comments: “All projects within the City Limits of Mobile shall comply with the requirements of the City of Mobile Fire Code Ordinance. (2012 International Fire Code).”;

- full compliance with all other municipal codes and ordinances.

Planned Unit Development: Staff recommends the following Findings of Fact for Approval for the Planned Unit Development:

a. the proposal promotes the objective of Creative design (to encourage innovative and diversified design in building form and site development), because it is reconfiguring a previous lot to allow additional development without further encroachment into an existing residential district;

b. the proposal promotes the objective of Flexibility (to permit greater flexibility in the location and arrangement of buildings and uses than is generally possible under district regulations), because it is creating more businesses on the existing property;

c. the proposal promotes the objective of Efficient land use (to encourage the most efficient and sustainable use of land, especially tracts in the inner part of the city that remain undeveloped or that are appropriate for redevelopment), because the site is being redeveloped to include additional uses;

f. the proposal promotes the objective of Public services (to encourage optimum use of available public utilities, streets and community facilities), because it is utilizing a site that is partially already under development that will be served with public infrastructure.

Based upon the preceding, this application is recommended for approval subject to the following:

- revision of the site plan to depict the most recently approved final plat legal description;

- retention of the lot sizes in square feet and acres;

- retention of the 25’ minimum building setback lines;

- retention of sidewalks along the property on any future plans;

- submission of a revised PUD site plan prior to the submission of any building permits/ construction on Lot B;

- compliance with Engineering comments: “Label the drawing as the PUD Site Plan. ADD THE FOLLOWING NOTES TO THE PUD SITE PLAN: 1. Any work performed in the existing ROW (right-of-way) such as driveways, sidewalks, utility connections, grading, drainage, irrigation, or landscaping will require a ROW permit from the City of Mobile Engineering Department (208-6070) and must comply with the City of Mobile Right-of-Way Construction and Administration Ordinance (Mobile City Code, Chapter 57, Article VIII). 2. A Land Disturbance Permit application shall be submitted for any proposed land disturbing activity with the property.  A complete set of construction plans including, but not limited to, drainage, utilities, grading, storm water detention systems and paving will need to be included with the Land Disturbance permit.  This Permit must be submitted, approved, and issued prior to beginning any of the construction work. 3. Any and all proposed land disturbing activity within the property will need to be submitted for review and be in conformance with Mobile City Code, Chapter 17, Storm Water Management and Flood Control); the City of Mobile, Alabama Flood Plain Management Plan (1984); and, the Rules For Erosion and Sedimentation Control and Storm Water Runoff Control. 4. Any existing or proposed detention facility shall be maintained as it was constructed and approved.  The Land Disturbance Permit application for any proposed construction includes a requirement of a Maintenance and Inspection Plan (signed and notarized by the Owner) for the detention facility. This Plan shall run with the land and be recorded in the County Probate Office prior to the Engineering Department issuing their approval for a Final Certificate of Occupancy. 5. The approval of all applicable federal, state, and local agencies (including all storm water runoff, wetland and floodplain requirements) will be required prior to the issuance of a Land Disturbance permit.  The Owner/Developer is responsible for acquiring all of the necessary permits and approvals. 6. The proposed development must comply with all Engineering Department design requirements and Policy Letters.”

- placement of a note on the Final Plat stating that Lot B is denied direct access to Dogwood Drive and the following Traffic Engineering comments: “Site is denied access to Airport Blvd, and limited to one driveway each to University Blvd and Dogwood Drive, with size, location and design to be approved by Traffic Engineering and conform to AASHTO standards.  Traffic Engineering approval of this site is contingent upon the construction by the developer/owner of the northbound right turn lane on University Boulevard at Airport Boulevard, as illustrated in the provided site plan.   Any on-site parking, including ADA handicap spaces, shall meet the minimum standards as defined in Section 64-6 of the City’s Zoning Ordinance.”

- compliance with Urban Forestry comments: “Property to be developed in compliance with state and local laws that pertain to tree preservation and protection on both city and private properties (State Act 2015-116 and City Code Chapters 57 and 64). Private removal of trees in the right-of-way will require approval of the Mobile Tree Commission.  Removal of heritage trees from a commercial site will require a tree removal permit.”;

- compliance with Fire comments: “All projects within the City Limits of Mobile shall comply with the requirements of the City of Mobile Fire Code Ordinance. (2012 International Fire Code).”;  and

- full compliance with all other municipal codes and ordinances.