RIVER PARK SUBDIVISION, RESUBDIVISION, RESUBDIVISION OF LOT 10

Engineering Comments: Must comply with all stormwater and flood control ordinances.  Any work performed in the right-of-way will require a right-of-way permit.

Traffic Engineering Comments: Driveway numbers, size, location and design to be approved by Traffic Engineering and conform to AASHTO standards.

Urban Forestry Comments: Property to be developed in compliance with state and local laws that pertain to tree preservation and protection on both city and private properties (State Act 61-929 and City Code Chapters 57 and 64).

The plat illustrates the proposed 2 lot, 2.4 + acres subdivision which is located on the East side of River Road at the East terminus of McGauhey Street.  The subdivision is served by public water and sanitary sewer.

The purpose of this application is to subdivide one lot into two lots of record.

As proposed, both lots would exceed the width to depth ratio, therefore a waiver of Section V.D.3. would be required.

As indicated on the plat, the site is located on Dog River and as such the area may be considered environmentally sensitive; therefore, the approval of any necessary federal, state and local agencies would be required.

With a waiver of Section V.D.3., the plat will meet the minimum requirements of the Subdivision Regulations and is recommended for Tentative Approval subject to the following condition: 1) the approval of all applicable federal, state and local agencies prior to the issuance of any permits.